Traditional data processing with SAC and Shell scripts

Wednesday, Aug 25, 2010

Short course on USArray data processing for the next generation of seismologists II

Suzan van der Lee

Go to a work directory/folder and unpack the set of files for this exercise.

> tar xvf file_based_processing.tar

Compile the fortran programs you’ll need:

> cd codes

> make

Go back to your work folder, make and go to a data directory, and grab a(ny) SEED volume, for example from /Users/usarray/USArray_Data. This example uses a SEED volume that I obtained through an IRIS Wilber II request of and on the day of the June 23, 2010 earthquake near Ottawa, Canada. I only requested broadband vertical component (BHZ) data. If your SEED volume has horizontal components you can rotate them to radial and transverse components with the rot command in sac; beware that for a proper rotation both traces need to have the exact same number of samples and begin time.

>cd ..

> mkdir data

> cd data

Unpack the waveform data from the SEED volume in this new “data” directory with “rdseed” and make sure that you request both the Pole & Zero files and the RESPonse files. The “d” indicates that you’d like to extract the data (i.e. waveforms) from the SEED volume. Here’s what it looks like in my terminal window:

comboimac28:data usarray$ rdseed

<< IRIS SEED Reader, Release 5.0

Input  File (/dev/nrst0) or 'Quit' to Exit: /Users/usarray/USArray_Data/ottawa.seed

Output File (stdout)    :

Volume #  [(1)-N]       :

Options [acCsSpRtde]    : d

Summary file (None)     :

Station List (ALL)      :

Channel List (ALL)      :

Network List (ALL)      :

Loc Ids (ALL ["--" for spaces]) :

Output Format [(1=SAC), 2=AH, 3=CSS, 4=mini seed, 5=seed, 6=sac ascii, 7=SEGY] :

Output file names include endtime? [Y/(N)]

Output poles & zeroes ? [Y/(N)]Y

Check Reversal [(0=No), 1=Dip.Azimuth, 2=Gain, 3=Both]:

Select Data Type [(E=Everything), D=Data of Undetermined State, M=Merged data, R=Raw waveform Data, Q=QC'd data] :

Start Time(s) YYYY,DDD,HH:MM:SS.FFFF :

End Time(s)   YYYY,DDD,HH:MM:SS.FFFF :

Sample Buffer Length [20000000]:

Extract Responses [Y/(N)]     : Y

Writing TA.034A..BHZ, 155589 samples (binary), starting 2010,174 17:42:16.0000 UT

Writing TA.035A..BHZ, 155609 samples (binary), starting 2010,174 17:42:14.0000 UT

Writing TA.035Z..BHZ, 155548 samples (binary), starting 2010,174 17:42:17.0000 UT

Writing TA.109C..BHZ, 156000 samples (binary), starting 2010,174 17:43:26.0195 UT

Writing TA.121A..BHZ, 156001 samples (binary), starting 2010,174 17:42:32.0000 UT

Writing TA.128A..BHZ, 155130 samples (binary), starting 2010,174 17:42:00.0000 UT

etc.

etc.

etc.

Writing TA.Z36A..BHZ, 154981 samples (binary), starting 2010,174 17:41:17.0000 UT

Writing TA.Z37A..BHZ, 154822 samples (binary), starting 2010,174 17:41:13.0000 UT

Writing TA.Z38A..BHZ, 154767 samples (binary), starting 2010,174 17:41:08.0000 UT

Writing TA.Z39A..BHZ, 91410 samples (binary), starting 2010,174 17:41:03.0000 UT

Input  File (/dev/nrst0) or 'Quit' to Exit: Quit

comboimac28:data usarray$

This is normally the point where I’ll want to look at the data I received in this SEED volume – i.e. visualize the waveforms. However, you have so many files now that you’ll first want to know a bit more about what you got.  We’ll run some queries on the directory contents. There are two example queries in codes.

> ../codes/query1.csh

> ../codes/query2.csh

What did you learn about the contents of your directory?

Let’s visually inspect the data or a subset of the data (move excess data to a separate folder).

> sac

SAC>

SAC> r *.TA.*.SAC

SAC> p1

Oops, what happened? Try looking at fewer seismograms at once and let’s zoom in on the earthquake wiggles:

SAC> p1 perplot 6	(press the space bar to continue to the next set of 6)

Are the traces ordered? How did that happen?

Try zooming in on the data, e.g. the first or the strongest arrival, using

SAC> xlim 200 400

SAC> p1  	(repeating this command will use the settings from the last time the command was issued, in this case “perplot 6”)

Did you notice that the time limits are not exactly 200 and 400 s for each set of traces and that it varies from one group of 6 traces to the next?  This is because the time axes of seismograms are not relative to the same reference time. Assessing the seismograms (e.g. for research quality) is easier if we know what earthquake they’re associated with and if their time is relative to the earthquake’s origin time.  Quit SAC (use the “quit” command) and gather the hypocenter parameteres for the earthquake associated with your SEED volume. For the Ottawa data the parameters are in file “event.list”.  Edit its contents to reflect the parameters for your earthquake. In this file, accurate values are essential only for parameters lat, lon, depth, year, julian day, hr, mn, and sec. Then

> cp ../event.list .

>../codes/evinhdr *.SAC

While having an event list (with a single earthquake) is great, if we had a station list we could visualize the geography of our data. You can make the station list so:

>../codes/sac2sl *

And to make the map:

> ../codes/evmap.gmt

> gs map.ps

These scripts are centered on North America. If your event is elsewhere it will fall off the map and you may have to adjust the gmt script. Also, if your “sac2sl” is not in the “../codes”

directory, you will have to adjust this part of the gmt script before you run it to produce the map.

OK, so the example event really was near Ottawa! And USArray still somewhat westwards, but already east of the Rockies. Let’s hope it keeps rolling.

Back to the viewing the data in SAC.  Try the reading (r), plotting (p1), and zooming (xlim) again now that the seismograms are all referenced to the same time. Note the difference?  You know you’re a real seismologist if you enjoy the view when keeping the space bar pressed during “p1”.

At this point (or earlier) you could make an(other) effort to move “bad” data and duplicate data to a different folder (or trash).

To gain some control over the order in which we view the data you can use the “getorder”  script:

SAC> quit

> ../codes/getorder *SAC

This produces a SAC macro called olist.m. In this case, the list is ordered by epicentral distance. If you uncomment line 12 (and comment line 11, using the “#” symbol) you can order the data by azimuth. Of course there are many different ways in which one can order data.  Run the macro in SAC:

> sac

SAC> m olist.m

SAC> p1 perplot <n>

SAC> xlim 200 1200

SAC> p1

or you can use SAC’s “ppk” with which you page to the next or previous page of seismograms with the “n” and “b” buttons:

SAC> ppk p 6

You can resize the screen, or zoom between the X marker (move mouse to desired time and press the “x” key) and the mouse marker (move mouse to desired time and click). Press the “o” key to go back to the standard view and the “q” key to quit from “ppk”.

Ready for some analysis? After some more browsing and quality control I usually start editing the traces so I can analyze them.  I remove the mean and trend and the instrument response. The following example is for a single SAC file. You can now create your own script & macro to do this for all SAC files! Choose a single, decent quality, sac file; let’s call it STAT.BHZ.  Find the corresponding SAC_PZ* file and name it PZ.STAT.

Note that to get a list of SAC commands you can type “help” within SAC. I suggest you view the seismogram after each adjustment.

SAC>  r STAT.BHZ

SAC> p

SAC> rmean

SAC> p

SAC> rtrend

SAC> p

SAC>taper

SAC> p

SAC> w over

This overwrites the contents of STAT.BHZ!  This is useful for when you need to start over, but dangerous if the raw data are important to recover. Luckily you can always get the raw data back again from the SEED volume, or from the IRIS DMC.

Now you can remove the instruments response. We’ll go through two examples of how to do that, but there are more ways, for example SOD can deliver instrument-response corrected data in SAC format to your computer, skipping the SEED stage altogether.

One way to correct for the instrument response is through SAC. This takes away a counts/Volts scaling factor from the digitizer as well as the frequency-dependent sensor response, which determines the response drop off at low frequencies:

SAC> r STAT.BHZ

SAC> transfer from polezero subtype PZ.STAT to none FREQ 0.036 0.06 2 2.8

SAC> p

SAC> w STAT.out1

Change the frequencies to see their effect on the result. The frequencies make sure that your deconvolution (or spectral division) with the instrument response takes place within the band where it is non-zero. Because the “transfer” command only takes the low-frequency response drop-off into account, the upper frequency can be as high as the Nyquist frequency, but to allow a comparison with other results within a seismically interesting band we’ll keep the frequencies in this example as listed above.

Another way to correct for the instrument response is through using program “responsee”, which calls IRIS’ “evalresp”. This will take the complete response (the sensor response as well as the digitizer response; the digitizer response determines the response behavior and drop off at high frequencies) into account. To make this easier I provide a shell script “seedresp” but you can also call “responsee” from the command line. If you choose the verbose option at the first prompt, it will explain subsequent choices for answers to its questions in detail.

> ../codes/seedresp STAT.BHZ STAT.out2 RESP.TA.I23A..BHZ

Instead of “RESP.TA.I23A..BHZ” you of course type the RESP file name for the station that you chose.

Compare STAT.out1 and STAT.out2. Why are they different? Edit “seedresp” to output ground displacement in the same units as the output from SAC’s transfer command above.

Lastly, you have learned by now that you can bypass the processing of the SEED volume and the SAC files it produces by directly asking for a ground motion record with “sod”. Of course you have to provide sod with similar parameters as above. However, like SAC’s transfer command “sod” will only remove the sensor response (not the digitizer response) and thus one could systematically choose the upper frequencies as the Nyquist frequency while finding the optimal low-pass filter parameters after the record has been obtained and viewed. Because we want to compare with our previous two response deconvolution results I have set the same frequencies as above in sod request “ottawa_sod.xml”, which Meghan provided for this exercise. Note that the “lowPass” value in the sod request is actually the corner frequency of the high pass filter that, together with the low-pass filter, constitutes the 6 mHz to 2 Hz band pass filter. Likewise the value labeled “highPass” is actually the corner frequency of this low-pass filter. The spectrum is set to zero for frequencies less than the “lowCut” value and higher than the “highCut“ value.

Run the sod request:

> sod –f ottawa_sod.xml

> cd seismograms/201006231741/

> sac

SAC> r 201006231741.TA.I23A.BHZ.sac

SAC> p

SAC> r more ../../STAT.out1 ../../STAT.out2

SAC> p1

The latter commands allow you to compare all three ground motion records. Are they the same? Explain differences. Now retrace some of your steps and try to make the choices that will make the results come out the same (or close enough). Make a list of the default units and ground motion type used by each method and of the steps needed to get the output in the type and units you need.